## Exported Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 10-06-2021
Calibration Normalization FAM-ROX is expired | No
Calibration Normalization FAM-ROX performed on | 10-06-2021
Calibration Normalization VIC-ROX is expired | No
Calibration Normalization VIC-ROX performed on | 10-06-2021
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 10-06-2021
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 10-06-2021
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 10-06-2021
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 10-06-2021
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 10-06-2021
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 10-06-2021
Calibration ROI is expired | No
Calibration ROI performed on | 10-06-2021
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 10-06-2021
Chemistry | TAQMAN
Date Created | 2021-10-29 14:25:53 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | E:\Felix HF v LF.eds
Experiment Name | Felix HF v LF
Experiment Run End Time | 2021-10-29 15:24:52 PM BST
Experiment Type | Standard Curve
Instrument Name | HotPants
Instrument Serial Number | 278871706
Instrument Type | QuantStudio(TM) 7 Flex System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
User Name
Well Position | Sample Name | Target Name | CT | Sample Name
A1 | Blank 1.a | B2M | 39.1631 | Blank 1.a
A2 | Blank 1.b | B2M | 39.3849 | Blank 1.b
A3 | Blank 1.c | B2M | 39.2363 | Blank 1.c
A4 | STD 10a | B2M | 21.2745 | STD 10a
A5 | STD 10b | B2M | 21.3543 | STD 10b
A6 | STD 10c | B2M | 21.2943 | STD 10c
A7 | STD 20a | B2M | 22.1059 | STD 20a
A8 | STD 20b | B2M | 22.0153 | STD 20b
A9 | STD 20c | B2M | 22.0813 | STD 20c
A10 | STD 40a | B2M | 23.2507 | STD 40a
A11 | STD 40b | B2M | 23.1972 | STD 40b
A12 | STD 40c | B2M | 23.2843 | STD 40c
A13 | STD 80a | B2M | 24.3884 | STD 80a
A14 | STD 80b | B2M | 24.4359 | STD 80b
A15 | STD 80c | B2M | 24.3494 | STD 80c
A16 | STD 160a | B2M | 25.4186 | STD 160a
A17 | STD 160b | B2M | 25.4605 | STD 160b
A18 | STD 160c | B2M | 25.4282 | STD 160c
A19 | STD 320a | B2M | 26.6454 | STD 320a
A20 | STD 320b | B2M | 26.5408 | STD 320b
A21 | STD 320c | B2M | 26.6003 | STD 320c
A22 | 0.1.a | B2M | 23.1229 | 0.1.a
A23 | 0.1.b | B2M | 23.1165 | 0.1.b
A24 | 0.1.c | B2M | 23.1457 | 0.1.c
B1 | 0.2.a | B2M | 23.3092 | 0.2.a
B2 | 0.2.b | B2M | 23.2824 | 0.2.b
B3 | 0.2.c | B2M | 23.2278 | 0.2.c
B4 | 0.3.a | B2M | 23.2241 | 0.3.a
B5 | 0.3.b | B2M | 23.1865 | 0.3.b
B6 | 0.3.c | B2M | 23.1375 | 0.3.c
B7 | 2.1.a | B2M | 23.0813 | 2.1.a
B8 | 2.1.b | B2M | 23.1117 | 2.1.b
B9 | 2.1.c | B2M | 23.0249 | 2.1.c
B10 | 2.2.a | B2M | 23.5718 | 2.2.a
B11 | 2.2.b | B2M | 23.2802 | 2.2.b
B12 | 2.2.c | B2M | 23.2572 | 2.2.c
B13 | 2.3.a | B2M | 23.3572 | 2.3.a
B14 | 2.3.b | B2M | 23.0262 | 2.3.b
B15 | 2.3.c | B2M | 23.0457 | 2.3.c
B16 | 8.1.a | B2M | 23.2826 | 8.1.a
B17 | 8.1.b | B2M | 23.359 | 8.1.b
B18 | 8.1.c | B2M | 23.3886 | 8.1.c
B19 | 8.2.a | B2M | 23.6516 | 8.2.a
B20 | 8.2.b | B2M | 23.2958 | 8.2.b
B21 | 8.2.c | B2M | 23.4181 | 8.2.c
B22 | 8.3.a | B2M | 22.9797 | 8.3.a
B23 | 8.3.b | B2M | 22.9816 | 8.3.b
B24 | 8.3.c | B2M | 22.9906 | 8.3.c
C1 | 0.4.a | B2M | 22.9188 | 0.4.a
C2 | 0.4.b | B2M | 22.6635 | 0.4.b
C3 | 0.4.c | B2M | 22.7419 | 0.4.c
C4 | 0.5.a | B2M | 23.4358 | 0.5.a
C5 | 0.5.b | B2M | 22.9893 | 0.5.b
C6 | 0.5.c | B2M | 23.216 | 0.5.c
C7 | 0.6.a | B2M | 24.0212 | 0.6.a
C8 | 0.6.b | B2M | 23.2856 | 0.6.b
C9 | 0.6.c | B2M | 23.3603 | 0.6.c
C10 | 0.7.a | B2M | 25.8426 | 0.7.a
C11 | 0.7.b | B2M | 25.5221 | 0.7.b
C12 | 0.7.c | B2M | 25.4701 | 0.7.c
C13 | 0.8.a | B2M | 23.5059 | 0.8.a
C14 | 0.8.b | B2M | 23.1325 | 0.8.b
C15 | 0.8.c | B2M | 23.4171 | 0.8.c
C16 | 0.9.a | B2M | 22.9087 | 0.9.a
C17 | 0.9.b | B2M | 22.8994 | 0.9.b
C18 | 0.9.c | B2M | 23.0182 | 0.9.c
C19 | 2.4.a | B2M | 23.6153 | 2.4.a
C20 | 2.4.b | B2M | 23.3967 | 2.4.b
C21 | 2.4.c | B2M | 23.4209 | 2.4.c
C22 | 2.5.a | B2M | 24.5594 | 2.5.a
C23 | 2.5.b | B2M | 24.2821 | 2.5.b
C24 | 2.5.c | B2M | 24.2778 | 2.5.c
D1 | 2.6.a | B2M | 23.4203 | 2.6.a
D2 | 2.6.b | B2M | 23.2707 | 2.6.b
D3 | 2.6.c | B2M | 23.3084 | 2.6.c
D4 | 2.7.a | B2M | 22.7002 | 2.7.a
D5 | 2.7.b | B2M | 22.4414 | 2.7.b
D6 | 2.7.c | B2M | 22.511 | 2.7.c
D7 | 2.8.a | B2M | 36.9024 | 2.8.a
D8 | 2.8.b | B2M | 37.9455 | 2.8.b
D9 | 2.8.c | B2M | 39.163 | 2.8.c
D10 | 2.9.a | B2M | 23.3884 | 2.9.a
D11 | 2.9.b | B2M | 22.6807 | 2.9.b
D12 | 2.9.c | B2M | 23.3164 | 2.9.c
D13 | 8.4.a | B2M | 28.7892 | 8.4.a
D14 | 8.4.b | B2M | 28.7758 | 8.4.b
D15 | 8.4.c | B2M | 28.792 | 8.4.c
D16 | 8.5.a | B2M | 22.9742 | 8.5.a
D17 | 8.5.b | B2M | 22.964 | 8.5.b
D18 | 8.5.c | B2M | 22.9974 | 8.5.c
D19 | 8.6.a | B2M | 22.9651 | 8.6.a
D20 | 8.6.b | B2M | 22.835 | 8.6.b
D21 | 8.6.c | B2M | 22.8206 | 8.6.c
D22 | 8.7.a | B2M | 23.372 | 8.7.a
D23 | 8.7.b | B2M | 23.0059 | 8.7.b
D24 | 8.7.c | B2M | 22.9993 | 8.7.c
E1 | 8.8.a | B2M | 23.3114 | 8.8.a
E2 | 8.8.b | B2M | 23.026 | 8.8.b
E3 | 8.8.c | B2M | 23.0059 | 8.8.c
E4 | 8.9.a | B2M | 23.764 | 8.9.a
E5 | 8.9.b | B2M | 23.4007 | 8.9.b
E6 | 8.9.c | B2M | 23.5983 | 8.9.c
E7 |  | B2M | Undetermined
E8 |  | B2M | Undetermined
E9 |  | B2M | Undetermined
E10 |  | B2M | Undetermined
E11 |  | B2M | Undetermined
E12 |  | B2M | Undetermined
E13 |  | B2M | Undetermined
E14 |  | B2M | Undetermined
E15 |  | B2M | Undetermined
E16 |  | B2M | 32.5083
E17 |  | B2M | Undetermined
E18 |  | B2M | Undetermined
E19 |  | B2M | Undetermined
E20 |  | B2M | Undetermined
E21 |  | B2M | Undetermined
E22 |  | B2M | Undetermined
E23 |  | B2M | Undetermined
E24 |  | B2M | Undetermined
F1 | Blank 1.a | HMBS | Undetermined | Blank 1.a
F2 | Blank 1.b | HMBS | Undetermined | Blank 1.b
F3 | Blank 1.c | HMBS | Undetermined | Blank 1.c
F4 | STD 10a | HMBS | 28.7462 | STD 10a
F5 | STD 10b | HMBS | 28.7568 | STD 10b
F6 | STD 10c | HMBS | 28.6503 | STD 10c
F7 | STD 20a | HMBS | 29.5402 | STD 20a
F8 | STD 20b | HMBS | 29.3873 | STD 20b
F9 | STD 20c | HMBS | 28.8119 | STD 20c
F10 | STD 40a | HMBS | 30.4001 | STD 40a
F11 | STD 40b | HMBS | Undetermined | STD 40b
F12 | STD 40c | HMBS | 29.879 | STD 40c
F13 | STD 80a | HMBS | 26.8423 | STD 80a
F14 | STD 80b | HMBS | 31.1061 | STD 80b
F15 | STD 80c | HMBS | 31.75 | STD 80c
F16 | STD 160a | HMBS | 32.5704 | STD 160a
F17 | STD 160b | HMBS | 32.6456 | STD 160b
F18 | STD 160c | HMBS | 32.8916 | STD 160c
F19 | STD 320a | HMBS | 33.488 | STD 320a
F20 | STD 320b | HMBS | 33.5689 | STD 320b
F21 | STD 320c | HMBS | 33.8526 | STD 320c
F22 | 0.1.a | HMBS | 30.3886 | 0.1.a
F23 | 0.1.b | HMBS | 30.2007 | 0.1.b
F24 | 0.1.c | HMBS | 30.3867 | 0.1.c
G1 | 0.2.a | HMBS | 30.4266 | 0.2.a
G2 | 0.2.b | HMBS | 30.4909 | 0.2.b
G3 | 0.2.c | HMBS | 30.2935 | 0.2.c
G4 | 0.3.a | HMBS | 30.271 | 0.3.a
G5 | 0.3.b | HMBS | 30.2485 | 0.3.b
G6 | 0.3.c | HMBS | 30.2274 | 0.3.c
G7 | 2.1.a | HMBS | 30.5034 | 2.1.a
G8 | 2.1.b | HMBS | 30.5588 | 2.1.b
G9 | 2.1.c | HMBS | 30.3133 | 2.1.c
G10 | 2.2.a | HMBS | 30.3782 | 2.2.a
G11 | 2.2.b | HMBS | 8.4501 | 2.2.b
G12 | 2.2.c | HMBS | 29.9395 | 2.2.c
G13 | 2.3.a | HMBS | 29.3775 | 2.3.a
G14 | 2.3.b | HMBS | 29.3283 | 2.3.b
G15 | 2.3.c | HMBS | 29.6186 | 2.3.c
G16 | 8.1.a | HMBS | 30.3727 | 8.1.a
G17 | 8.1.b | HMBS | 30.0567 | 8.1.b
G18 | 8.1.c | HMBS | 30.251 | 8.1.c
G19 | 8.2.a | HMBS | 30.6477 | 8.2.a
G20 | 8.2.b | HMBS | 30.4846 | 8.2.b
G21 | 8.2.c | HMBS | 30.5964 | 8.2.c
G22 | 8.3.a | HMBS | 30.0541 | 8.3.a
G23 | 8.3.b | HMBS | 29.7051 | 8.3.b
G24 | 8.3.c | HMBS | 29.9947 | 8.3.c
H1 | 0.4.a | HMBS | 30.3463 | 0.4.a
H2 | 0.4.b | HMBS | 30.2213 | 0.4.b
H3 | 0.4.c | HMBS | 30.5766 | 0.4.c
H4 | 0.5.a | HMBS | 30.6516 | 0.5.a
H5 | 0.5.b | HMBS | 30.7512 | 0.5.b
H6 | 0.5.c | HMBS | 30.5517 | 0.5.c
H7 | 0.6.a | HMBS | 30.7573 | 0.6.a
H8 | 0.6.b | HMBS | 30.3327 | 0.6.b
H9 | 0.6.c | HMBS | 30.4 | 0.6.c
H10 | 0.7.a | HMBS | 32.286 | 0.7.a
H11 | 0.7.b | HMBS | 31.7373 | 0.7.b
H12 | 0.7.c | HMBS | 31.1481 | 0.7.c
H13 | 0.8.a | HMBS | 29.7393 | 0.8.a
H14 | 0.8.b | HMBS | 28.9063 | 0.8.b
H15 | 0.8.c | HMBS | 29.8828 | 0.8.c
H16 | 0.9.a | HMBS | 30.6932 | 0.9.a
H17 | 0.9.b | HMBS | 30.1406 | 0.9.b
H18 | 0.9.c | HMBS | 29.9549 | 0.9.c
H19 | 2.4.a | HMBS | 30.7094 | 2.4.a
H20 | 2.4.b | HMBS | 30.6784 | 2.4.b
H21 | 2.4.c | HMBS | 30.6563 | 2.4.c
H22 | 2.5.a | HMBS | 31.5824 | 2.5.a
H23 | 2.5.b | HMBS | 31.3275 | 2.5.b
H24 | 2.5.c | HMBS | 31.3039 | 2.5.c
I1 | 2.6.a | HMBS | 30.6913 | 2.6.a
I2 | 2.6.b | HMBS | 30.7358 | 2.6.b
I3 | 2.6.c | HMBS | 30.7432 | 2.6.c
I4 | 2.7.a | HMBS | 30.3594 | 2.7.a
I5 | 2.7.b | HMBS | 30.386 | 2.7.b
I6 | 2.7.c | HMBS | 30.2914 | 2.7.c
I7 | 2.8.a | HMBS | Undetermined | 2.8.a
I8 | 2.8.b | HMBS | Undetermined | 2.8.b
I9 | 2.8.c | HMBS | Undetermined | 2.8.c
I10 | 2.9.a | HMBS | 30.7072 | 2.9.a
I11 | 2.9.b | HMBS | 30.2879 | 2.9.b
I12 | 2.9.c | HMBS | 30.4194 | 2.9.c
I13 | 8.4.a | HMBS | 36.2209 | 8.4.a
I14 | 8.4.b | HMBS | 37.4955 | 8.4.b
I15 | 8.4.c | HMBS | 38.508 | 8.4.c
I16 | 8.5.a | HMBS | 30.5192 | 8.5.a
I17 | 8.5.b | HMBS | 30.586 | 8.5.b
I18 | 8.5.c | HMBS | 30.4129 | 8.5.c
I19 | 8.6.a | HMBS | 30.4078 | 8.6.a
I20 | 8.6.b | HMBS | 29.9838 | 8.6.b
I21 | 8.6.c | HMBS | 30.2569 | 8.6.c
I22 | 8.7.a | HMBS | 30.3141 | 8.7.a
I23 | 8.7.b | HMBS | 29.9838 | 8.7.b
I24 | 8.7.c | HMBS | 29.5627 | 8.7.c
J1 | 8.8.a | HMBS | 30.2522 | 8.8.a
J2 | 8.8.b | HMBS | 28.8312 | 8.8.b
J3 | 8.8.c | HMBS | 29.9796 | 8.8.c
J4 | 8.9.a | HMBS | 30.5711 | 8.9.a
J5 | 8.9.b | HMBS | 30.3989 | 8.9.b
J6 | 8.9.c | HMBS | 30.5888 | 8.9.c
J7 |  | HMBS | Undetermined
J8 |  | HMBS | Undetermined
J9 |  | HMBS | Undetermined
J10 |  | HMBS | Undetermined
J11 |  | HMBS | Undetermined
J12 |  | HMBS | Undetermined
J13 |  | HMBS | Undetermined
J14 |  | HMBS | Undetermined
J15 |  | HMBS | Undetermined
J16 |  | HMBS | Undetermined
J17 |  | HMBS | Undetermined
J18 |  | HMBS | Undetermined
J19 |  | HMBS | Undetermined
J20 |  | HMBS | Undetermined
J21 |  | HMBS | Undetermined
J22 |  | HMBS | Undetermined
J23 |  | HMBS | Undetermined
J24 |  | HMBS | Undetermined
K1 | Blank 1.a | YWHA2 | 39.3215 | Blank 1.a
K2 | Blank 1.b | YWHA2 | Undetermined | Blank 1.b
K3 | Blank 1.c | YWHA2 | Undetermined | Blank 1.c
K4 | STD 10a | YWHA2 | 22.0469 | STD 10a
K5 | STD 10b | YWHA2 | 22.1056 | STD 10b
K6 | STD 10c | YWHA2 | 21.9149 | STD 10c
K7 | STD 20a | YWHA2 | 22.7548 | STD 20a
K8 | STD 20b | YWHA2 | 22.5954 | STD 20b
K9 | STD 20c | YWHA2 | 19.4171 | STD 20c
K10 | STD 40a | YWHA2 | Undetermined | STD 40a
K11 | STD 40b | YWHA2 | 23.1854 | STD 40b
K12 | STD 40c | YWHA2 | 23.5544 | STD 40c
K13 | STD 80a | YWHA2 | 25.2775 | STD 80a
K14 | STD 80b | YWHA2 | 25.1795 | STD 80b
K15 | STD 80c | YWHA2 | 24.9747 | STD 80c
K16 | STD 160a | YWHA2 | 26.1146 | STD 160a
K17 | STD 160b | YWHA2 | 26.2335 | STD 160b
K18 | STD 160c | YWHA2 | 26.0747 | STD 160c
K19 | STD 320a | YWHA2 | 27.036 | STD 320a
K20 | STD 320b | YWHA2 | 27.1951 | STD 320b
K21 | STD 320c | YWHA2 | 27.1881 | STD 320c
K22 | 0.1.a | YWHA2 | 23.6746 | 0.1.a
K23 | 0.1.b | YWHA2 | 23.7033 | 0.1.b
K24 | 0.1.c | YWHA2 | 23.6798 | 0.1.c
L1 | 0.2.a | YWHA2 | 24.0962 | 0.2.a
L2 | 0.2.b | YWHA2 | 24.0298 | 0.2.b
L3 | 0.2.c | YWHA2 | 23.9676 | 0.2.c
L4 | 0.3.a | YWHA2 | 23.9725 | 0.3.a
L5 | 0.3.b | YWHA2 | 23.546 | 0.3.b
L6 | 0.3.c | YWHA2 | 23.7678 | 0.3.c
L7 | 2.1.a | YWHA2 | 23.9048 | 2.1.a
L8 | 2.1.b | YWHA2 | 23.6179 | 2.1.b
L9 | 2.1.c | YWHA2 | Undetermined | 2.1.c
L10 | 2.2.a | YWHA2 | 24.5835 | 2.2.a
L11 | 2.2.b | YWHA2 | 23.6216 | 2.2.b
L12 | 2.2.c | YWHA2 | 23.9581 | 2.2.c
L13 | 2.3.a | YWHA2 | 23.3546 | 2.3.a
L14 | 2.3.b | YWHA2 | 23.5335 | 2.3.b
L15 | 2.3.c | YWHA2 | 23.6891 | 2.3.c
L16 | 8.1.a | YWHA2 | 24.1368 | 8.1.a
L17 | 8.1.b | YWHA2 | 24.125 | 8.1.b
L18 | 8.1.c | YWHA2 | 24.0395 | 8.1.c
L19 | 8.2.a | YWHA2 | 24.0951 | 8.2.a
L20 | 8.2.b | YWHA2 | 24.0332 | 8.2.b
L21 | 8.2.c | YWHA2 | 24.0934 | 8.2.c
L22 | 8.3.a | YWHA2 | 23.6788 | 8.3.a
L23 | 8.3.b | YWHA2 | 23.6987 | 8.3.b
L24 | 8.3.c | YWHA2 | 23.7047 | 8.3.c
M1 | 0.4.a | YWHA2 | 23.6165 | 0.4.a
M2 | 0.4.b | YWHA2 | 23.6153 | 0.4.b
M3 | 0.4.c | YWHA2 | 23.6155 | 0.4.c
M4 | 0.5.a | YWHA2 | 23.8959 | 0.5.a
M5 | 0.5.b | YWHA2 | 23.7239 | 0.5.b
M6 | 0.5.c | YWHA2 | 23.9319 | 0.5.c
M7 | 0.6.a | YWHA2 | 24.0706 | 0.6.a
M8 | 0.6.b | YWHA2 | 23.9962 | 0.6.b
M9 | 0.6.c | YWHA2 | 23.1418 | 0.6.c
M10 | 0.7.a | YWHA2 | 24.8834 | 0.7.a
M11 | 0.7.b | YWHA2 | 25.1953 | 0.7.b
M12 | 0.7.c | YWHA2 | 25.4669 | 0.7.c
M13 | 0.8.a | YWHA2 | 23.6213 | 0.8.a
M14 | 0.8.b | YWHA2 | 23.225 | 0.8.b
M15 | 0.8.c | YWHA2 | 23.284 | 0.8.c
M16 | 0.9.a | YWHA2 | 23.4245 | 0.9.a
M17 | 0.9.b | YWHA2 | 23.3561 | 0.9.b
M18 | 0.9.c | YWHA2 | 23.2713 | 0.9.c
M19 | 2.4.a | YWHA2 | 24.1015 | 2.4.a
M20 | 2.4.b | YWHA2 | 24.1542 | 2.4.b
M21 | 2.4.c | YWHA2 | 24.1413 | 2.4.c
M22 | 2.5.a | YWHA2 | 24.8428 | 2.5.a
M23 | 2.5.b | YWHA2 | 24.6057 | 2.5.b
M24 | 2.5.c | YWHA2 | 24.7797 | 2.5.c
N1 | 2.6.a | YWHA2 | 24.1422 | 2.6.a
N2 | 2.6.b | YWHA2 | 24.3318 | 2.6.b
N3 | 2.6.c | YWHA2 | 24.0635 | 2.6.c
N4 | 2.7.a | YWHA2 | 23.1792 | 2.7.a
N5 | 2.7.b | YWHA2 | 23.1183 | 2.7.b
N6 | 2.7.c | YWHA2 | 22.982 | 2.7.c
N7 | 2.8.a | YWHA2 | 36.0582 | 2.8.a
N8 | 2.8.b | YWHA2 | 37.1036 | 2.8.b
N9 | 2.8.c | YWHA2 | 38.1998 | 2.8.c
N10 | 2.9.a | YWHA2 | 23.8713 | 2.9.a
N11 | 2.9.b | YWHA2 | 23.9724 | 2.9.b
N12 | 2.9.c | YWHA2 | 24.0522 | 2.9.c
N13 | 8.4.a | YWHA2 | 28.12 | 8.4.a
N14 | 8.4.b | YWHA2 | 28.0027 | 8.4.b
N15 | 8.4.c | YWHA2 | 28.2921 | 8.4.c
N16 | 8.5.a | YWHA2 | 23.5649 | 8.5.a
N17 | 8.5.b | YWHA2 | 24.1888 | 8.5.b
N18 | 8.5.c | YWHA2 | 23.5652 | 8.5.c
N19 | 8.6.a | YWHA2 | 23.5066 | 8.6.a
N20 | 8.6.b | YWHA2 | 23.2524 | 8.6.b
N21 | 8.6.c | YWHA2 | 23.5128 | 8.6.c
N22 | 8.7.a | YWHA2 | 23.7848 | 8.7.a
N23 | 8.7.b | YWHA2 | 23.9188 | 8.7.b
N24 | 8.7.c | YWHA2 | 23.5823 | 8.7.c
O1 | 8.8.a | YWHA2 | 23.6062 | 8.8.a
O2 | 8.8.b | YWHA2 | 23.4365 | 8.8.b
O3 | 8.8.c | YWHA2 | 23.6119 | 8.8.c
O4 | 8.9.a | YWHA2 | 24.1302 | 8.9.a
O5 | 8.9.b | YWHA2 | 24.1189 | 8.9.b
O6 | 8.9.c | YWHA2 | 23.802 | 8.9.c
O7 |  | YWHA2 | Undetermined
O8 |  | YWHA2 | Undetermined
O9 |  | YWHA2 | Undetermined
O10 |  | YWHA2 | Undetermined
O11 |  | YWHA2 | Undetermined
O12 |  | YWHA2 | Undetermined
O13 |  | YWHA2 | Undetermined
O14 |  | YWHA2 | Undetermined
O15 |  | YWHA2 | Undetermined
O16 |  | YWHA2 | Undetermined
O17 |  | YWHA2 | Undetermined
O18 |  | YWHA2 | Undetermined
O19 |  | YWHA2 | Undetermined
O20 |  | YWHA2 | Undetermined
O21 |  | YWHA2 | Undetermined
O22 |  | YWHA2 | Undetermined
O23 |  | YWHA2 | Undetermined
O24 |  | YWHA2 | Undetermined

## Results Workspace
Well | Ct from reader | Corrected Cts | Sample Name | Average Ct | STDEV
A1 | 39.1631 | 39.1631 | Blank 1.a | 39.2614 | 0.092264
A2 | 39.3849 | 39.3849 | Blank 1.b
A3 | 39.2363 | 39.2363 | Blank 1.c
A4 | 21.2745 | 21.2745 | STD 10a | 21.3077 | 0.033947
A5 | 21.3543 | 21.3543 | STD 10b
A6 | 21.2943 | 21.2943 | STD 10c
A7 | 22.1059 | 22.1059 | STD 20a | 22.0675 | 0.038253
A8 | 22.0153 | 22.0153 | STD 20b
A9 | 22.0813 | 22.0813 | STD 20c
A10 | 23.2507 | 23.2507 | STD 40a | 23.2441 | 0.035839
A11 | 23.1972 | 23.1972 | STD 40b
A12 | 23.2843 | 23.2843 | STD 40c
A13 | 24.3884 | 24.3884 | STD 80a | 24.3913 | 0.035376
A14 | 24.4359 | 24.4359 | STD 80b
A15 | 24.3494 | 24.3494 | STD 80c
A16 | 25.4186 | 25.4186 | STD 160a | 25.4357 | 0.01792
A17 | 25.4605 | 25.4605 | STD 160b
A18 | 25.4282 | 25.4282 | STD 160c
A19 | 26.6454 | 26.6454 | STD 320a | 26.5955 | 0.04283
A20 | 26.5408 | 26.5408 | STD 320b
A21 | 26.6003 | 26.6003 | STD 320c
A22 | 23.1229 | 23.1229 | 0.1.a | 23.1284 | 0.012545
A23 | 23.1165 | 23.1165 | 0.1.b
A24 | 23.1457 | 23.1457 | 0.1.c
B1 | 23.3092 | 23.3092 | 0.2.a | 23.2731 | 0.033882
B2 | 23.2824 | 23.2824 | 0.2.b
B3 | 23.2278 | 23.2278 | 0.2.c
B4 | 23.2241 | 23.2241 | 0.3.a | 23.1827 | 0.035447
B5 | 23.1865 | 23.1865 | 0.3.b
B6 | 23.1375 | 23.1375 | 0.3.c
B7 | 23.0813 | 23.0813 | 2.1.a | 23.0726 | 0.035961
B8 | 23.1117 | 23.1117 | 2.1.b
B9 | 23.0249 | 23.0249 | 2.1.c
B10 | 23.5718 | 23.5718 | 2.2.a | 23.3697 | 0.14317
B11 | 23.2802 | 23.2802 | 2.2.b
B12 | 23.2572 | 23.2572 | 2.2.c
B13 | 23.3572 | 23.3572 | 2.3.a | 23.143 | 0.15168
B14 | 23.0262 | 23.0262 | 2.3.b
B15 | 23.0457 | 23.0457 | 2.3.c
B16 | 23.2826 | 23.2826 | 8.1.a | 23.3434 | 0.044647
B17 | 23.359 | 23.359 | 8.1.b
B18 | 23.3886 | 23.3886 | 8.1.c
B19 | 23.6516 | 23.6516 | 8.2.a | 23.4552 | 0.14757
B20 | 23.2958 | 23.2958 | 8.2.b
B21 | 23.4181 | 23.4181 | 8.2.c
B22 | 22.9797 | 22.9797 | 8.3.a | 22.984 | 0.0047294
B23 | 22.9816 | 22.9816 | 8.3.b
B24 | 22.9906 | 22.9906 | 8.3.c
C1 | 22.9188 | 22.9188 | 0.4.a | 22.7747 | 0.10678
C2 | 22.6635 | 22.6635 | 0.4.b
C3 | 22.7419 | 22.7419 | 0.4.c
C4 | 23.4358 | 23.4358 | 0.5.a | 23.2137 | 0.1823
C5 | 22.9893 | 22.9893 | 0.5.b
C6 | 23.216 | 23.216 | 0.5.c
C7 | 24.0212 |  | 0.6.a | 23.323 | 0.037344
C8 | 23.2856 | 23.2856 | 0.6.b
C9 | 23.3603 | 23.3603 | 0.6.c
C10 | 25.8426 |  | 0.7.a | #DIV/0! | #DIV/0!
C11 | 25.5221 |  | 0.7.b
C12 | 25.4701 |  | 0.7.c
C13 | 23.5059 | 23.5059 | 0.8.a | 23.3518 | 0.15927
C14 | 23.1325 | 23.1325 | 0.8.b
C15 | 23.4171 | 23.4171 | 0.8.c
C16 | 22.9087 | 22.9087 | 0.9.a | 22.9421 | 0.053925
C17 | 22.8994 | 22.8994 | 0.9.b
C18 | 23.0182 | 23.0182 | 0.9.c
C19 | 23.6153 | 23.6153 | 2.4.a | 23.4776 | 0.097844
C20 | 23.3967 | 23.3967 | 2.4.b
C21 | 23.4209 | 23.4209 | 2.4.c
C22 | 24.5594 |  | 2.5.a | 24.2799 | 0.0021629
C23 | 24.2821 | 24.2821 | 2.5.b
C24 | 24.2778 | 24.2778 | 2.5.c
D1 | 23.4203 | 23.4203 | 2.6.a | 23.3331 | 0.063519
D2 | 23.2707 | 23.2707 | 2.6.b
D3 | 23.3084 | 23.3084 | 2.6.c
D4 | 22.7002 | 22.7002 | 2.7.a | 22.5509 | 0.10938
D5 | 22.4414 | 22.4414 | 2.7.b
D6 | 22.511 | 22.511 | 2.7.c
D7 | 36.9024 |  | 2.8.a | #DIV/0! | #DIV/0!
D8 | 37.9455 |  | 2.8.b
D9 | 39.163 |  | 2.8.c
D10 | 23.3884 |  | 2.9.a | 22.9986 | 0.31787
D11 | 22.6807 | 22.6807 | 2.9.b
D12 | 23.3164 | 23.3164 | 2.9.c
D13 | 28.7892 | 28.7892 | 8.4.a | 28.7857 | 0.0070617
D14 | 28.7758 | 28.7758 | 8.4.b
D15 | 28.792 | 28.792 | 8.4.c
D16 | 22.9742 | 22.9742 | 8.5.a | 22.9785 | 0.01397
D17 | 22.964 | 22.964 | 8.5.b
D18 | 22.9974 | 22.9974 | 8.5.c
D19 | 22.9651 | 22.9651 | 8.6.a | 22.8736 | 0.064977
D20 | 22.835 | 22.835 | 8.6.b
D21 | 22.8206 | 22.8206 | 8.6.c
D22 | 23.372 | 23.372 | 8.7.a | 23.1257 | 0.17417
D23 | 23.0059 | 23.0059 | 8.7.b
D24 | 22.9993 | 22.9993 | 8.7.c
E1 | 23.3114 | 23.3114 | 8.8.a | 23.1144 | 0.13951
E2 | 23.026 | 23.026 | 8.8.b
E3 | 23.0059 | 23.0059 | 8.8.c
E4 | 23.764 | 23.764 | 8.9.a | 23.5877 | 0.14849
E5 | 23.4007 | 23.4007 | 8.9.b
E6 | 23.5983 | 23.5983 | 8.9.c
E7 | Undetermined | 40.1 |  | 40.1 | 0
E8 | Undetermined | 40.1
E9 | Undetermined | 40.1
E10 | Undetermined | 40.1 |  | 40.1 | 0
E11 | Undetermined | 40.1
E12 | Undetermined | 40.1
E13 | Undetermined | 40.1 |  | 40.1 | 0
E14 | Undetermined | 40.1
E15 | Undetermined | 40.1
E16 | 32.5083 | 32.5083 |  | 37.5694 | 3.5788
E17 | Undetermined | 40.1
E18 | Undetermined | 40.1
E19 | Undetermined | 40.1 |  | 40.1 | 0
E20 | Undetermined | 40.1
E21 | Undetermined | 40.1
E22 | Undetermined | 40.1 |  | 40.1 | 0
E23 | Undetermined | 40.1
E24 | Undetermined | 40.1
F1 | Undetermined | 40.1 | Blank 1.a | 40.1 | 0
F2 | Undetermined | 40.1 | Blank 1.b
F3 | Undetermined | 40.1 | Blank 1.c
F4 | 28.7462 | 28.7462 | STD 10a | 28.7177 | 0.047915
F5 | 28.7568 | 28.7568 | STD 10b
F6 | 28.6503 | 28.6503 | STD 10c
F7 | 29.5402 | 29.5402 | STD 20a | 29.4638 | 0.076484
F8 | 29.3873 | 29.3873 | STD 20b
F9 | 28.8119 |  | STD 20c
F10 | 30.4001 | 30.4001 | STD 40a | 30.1396 | 0.26055
F11 | Undetermined |  | STD 40b
F12 | 29.879 | 29.879 | STD 40c
F13 | 26.8423 |  | STD 80a | 31.428 | 0.32196
F14 | 31.1061 | 31.1061 | STD 80b
F15 | 31.75 | 31.75 | STD 80c
F16 | 32.5704 | 32.5704 | STD 160a | 32.7026 | 0.13716
F17 | 32.6456 | 32.6456 | STD 160b
F18 | 32.8916 | 32.8916 | STD 160c
F19 | 33.488 | 33.488 | STD 320a | 33.6365 | 0.15634
F20 | 33.5689 | 33.5689 | STD 320b
F21 | 33.8526 | 33.8526 | STD 320c
F22 | 30.3886 | 30.3886 | 0.1.a | 30.3253 | 0.088126
F23 | 30.2007 | 30.2007 | 0.1.b
F24 | 30.3867 | 30.3867 | 0.1.c
G1 | 30.4266 | 30.4266 | 0.2.a | 30.4037 | 0.082231
G2 | 30.4909 | 30.4909 | 0.2.b
G3 | 30.2935 | 30.2935 | 0.2.c
G4 | 30.271 | 30.271 | 0.3.a | 30.249 | 0.017809
G5 | 30.2485 | 30.2485 | 0.3.b
G6 | 30.2274 | 30.2274 | 0.3.c
G7 | 30.5034 | 30.5034 | 2.1.a | 30.4585 | 0.10514
G8 | 30.5588 | 30.5588 | 2.1.b
G9 | 30.3133 | 30.3133 | 2.1.c
G10 | 30.3782 | 30.3782 | 2.2.a | 30.1589 | 0.21937
G11 | 8.4501 |  | 2.2.b
G12 | 29.9395 | 29.9395 | 2.2.c
G13 | 29.3775 | 29.3775 | 2.3.a | 29.4415 | 0.12684
G14 | 29.3283 | 29.3283 | 2.3.b
G15 | 29.6186 | 29.6186 | 2.3.c
G16 | 30.3727 | 30.3727 | 8.1.a | 30.2268 | 0.13014
G17 | 30.0567 | 30.0567 | 8.1.b
G18 | 30.251 | 30.251 | 8.1.c
G19 | 30.6477 | 30.6477 | 8.2.a | 30.5762 | 0.068084
G20 | 30.4846 | 30.4846 | 8.2.b
G21 | 30.5964 | 30.5964 | 8.2.c
G22 | 30.0541 | 30.0541 | 8.3.a | 29.918 | 0.15249
G23 | 29.7051 | 29.7051 | 8.3.b
G24 | 29.9947 | 29.9947 | 8.3.c
H1 | 30.3463 | 30.3463 | 0.4.a | 30.3814 | 0.14716
H2 | 30.2213 | 30.2213 | 0.4.b
H3 | 30.5766 | 30.5766 | 0.4.c
H4 | 30.6516 | 30.6516 | 0.5.a | 30.6515 | 0.081458
H5 | 30.7512 | 30.7512 | 0.5.b
H6 | 30.5517 | 30.5517 | 0.5.c
H7 | 30.7573 | 30.7573 | 0.6.a | 30.4967 | 0.18635
H8 | 30.3327 | 30.3327 | 0.6.b
H9 | 30.4 | 30.4 | 0.6.c
H10 | 32.286 | 32.286 | 0.7.a | 31.7238 | 0.46465
H11 | 31.7373 | 31.7373 | 0.7.b
H12 | 31.1481 | 31.1481 | 0.7.c
H13 | 29.7393 | 29.7393 | 0.8.a | 29.8111 | 0.071755
H14 | 28.9063 |  | 0.8.b
H15 | 29.8828 | 29.8828 | 0.8.c
H16 | 30.6932 |  | 0.9.a | 30.0478 | 0.092843
H17 | 30.1406 | 30.1406 | 0.9.b
H18 | 29.9549 | 29.9549 | 0.9.c
H19 | 30.7094 | 30.7094 | 2.4.a | 30.6813 | 0.021755
H20 | 30.6784 | 30.6784 | 2.4.b
H21 | 30.6563 | 30.6563 | 2.4.c
H22 | 31.5824 |  | 2.5.a | 31.3157 | 0.0118
H23 | 31.3275 | 31.3275 | 2.5.b
H24 | 31.3039 | 31.3039 | 2.5.c
I1 | 30.6913 | 30.6913 | 2.6.a | 30.7234 | 0.022935
I2 | 30.7358 | 30.7358 | 2.6.b
I3 | 30.7432 | 30.7432 | 2.6.c
I4 | 30.3594 | 30.3594 | 2.7.a | 30.3456 | 0.039838
I5 | 30.386 | 30.386 | 2.7.b
I6 | 30.2914 | 30.2914 | 2.7.c
I7 | Undetermined |  | 2.8.a | #DIV/0! | #DIV/0!
I8 | Undetermined |  | 2.8.b
I9 | Undetermined |  | 2.8.c
I10 | 30.7072 | 30.7072 | 2.9.a | 30.4715 | 0.17507
I11 | 30.2879 | 30.2879 | 2.9.b
I12 | 30.4194 | 30.4194 | 2.9.c
I13 | 36.2209 |  | 8.4.a | #DIV/0! | #DIV/0!
I14 | 37.4955 |  | 8.4.b
I15 | 38.508 |  | 8.4.c
I16 | 30.5192 | 30.5192 | 8.5.a | 30.506 | 0.071287
I17 | 30.586 | 30.586 | 8.5.b
I18 | 30.4129 | 30.4129 | 8.5.c
I19 | 30.4078 | 30.4078 | 8.6.a | 30.2162 | 0.17546
I20 | 29.9838 | 29.9838 | 8.6.b
I21 | 30.2569 | 30.2569 | 8.6.c
I22 | 30.3141 | 30.3141 | 8.7.a | 29.9535 | 0.30752
I23 | 29.9838 | 29.9838 | 8.7.b
I24 | 29.5627 | 29.5627 | 8.7.c
J1 | 30.2522 | 30.2522 | 8.8.a | 29.6877 | 0.61576
J2 | 28.8312 | 28.8312 | 8.8.b
J3 | 29.9796 | 29.9796 | 8.8.c
J4 | 30.5711 | 30.5711 | 8.9.a | 30.5196 | 0.085688
J5 | 30.3989 | 30.3989 | 8.9.b
J6 | 30.5888 | 30.5888 | 8.9.c
J7 | Undetermined | 40.1 |  | 40.1 | 0
J8 | Undetermined | 40.1
J9 | Undetermined | 40.1
J10 | Undetermined | 40.1 |  | 40.1 | 0
J11 | Undetermined | 40.1
J12 | Undetermined | 40.1
J13 | Undetermined | 40.1 |  | 40.1 | 0
J14 | Undetermined | 40.1
J15 | Undetermined | 40.1
J16 | Undetermined | 40.1 |  | 40.1 | 0
J17 | Undetermined | 40.1
J18 | Undetermined | 40.1
J19 | Undetermined | 40.1 |  | 40.1 | 0
J20 | Undetermined | 40.1
J21 | Undetermined | 40.1
J22 | Undetermined | 40.1 |  | 40.1 | 0
J23 | Undetermined | 40.1
J24 | Undetermined | 40.1
K1 | 39.3215 | 39.3215 | Blank 1.a | 39.8405 | 0.36701
K2 | Undetermined | 40.1 | Blank 1.b
K3 | Undetermined | 40.1 | Blank 1.c
K4 | 22.0469 | 22.0469 | STD 10a | 22.0225 | 0.079735
K5 | 22.1056 | 22.1056 | STD 10b
K6 | 21.9149 | 21.9149 | STD 10c
K7 | 22.7548 | 22.7548 | STD 20a | 22.6751 | 0.079699
K8 | 22.5954 | 22.5954 | STD 20b
K9 | 19.4171 |  | STD 20c
K10 | Undetermined |  | STD 40a | 23.3699 | 0.18451
K11 | 23.1854 | 23.1854 | STD 40b
K12 | 23.5544 | 23.5544 | STD 40c
K13 | 25.2775 | 25.2775 | STD 80a | 25.1439 | 0.12618
K14 | 25.1795 | 25.1795 | STD 80b
K15 | 24.9747 | 24.9747 | STD 80c
K16 | 26.1146 | 26.1146 | STD 160a | 26.1409 | 0.067438
K17 | 26.2335 | 26.2335 | STD 160b
K18 | 26.0747 | 26.0747 | STD 160c
K19 | 27.036 | 27.036 | STD 320a | 27.1397 | 0.07338
K20 | 27.1951 | 27.1951 | STD 320b
K21 | 27.1881 | 27.1881 | STD 320c
K22 | 23.6746 | 23.6746 | 0.1.a | 23.6859 | 0.012493
K23 | 23.7033 | 23.7033 | 0.1.b
K24 | 23.6798 | 23.6798 | 0.1.c
L1 | 24.0962 | 24.0962 | 0.2.a | 24.0312 | 0.05249
L2 | 24.0298 | 24.0298 | 0.2.b
L3 | 23.9676 | 23.9676 | 0.2.c
L4 | 23.9725 | 23.9725 | 0.3.a | 23.7621 | 0.17417
L5 | 23.546 | 23.546 | 0.3.b
L6 | 23.7678 | 23.7678 | 0.3.c
L7 | 23.9048 | 23.9048 | 2.1.a | 23.7613 | 0.14346
L8 | 23.6179 | 23.6179 | 2.1.b
L9 | Undetermined |  | 2.1.c
L10 | 24.5835 | 24.5835 | 2.2.a | 24.2708 | 0.31268
L11 | 23.6216 |  | 2.2.b
L12 | 23.9581 | 23.9581 | 2.2.c
L13 | 23.3546 | 23.3546 | 2.3.a | 23.5257 | 0.13665
L14 | 23.5335 | 23.5335 | 2.3.b
L15 | 23.6891 | 23.6891 | 2.3.c
L16 | 24.1368 | 24.1368 | 8.1.a | 24.1004 | 0.043321
L17 | 24.125 | 24.125 | 8.1.b
L18 | 24.0395 | 24.0395 | 8.1.c
L19 | 24.0951 | 24.0951 | 8.2.a | 24.0739 | 0.028806
L20 | 24.0332 | 24.0332 | 8.2.b
L21 | 24.0934 | 24.0934 | 8.2.c
L22 | 23.6788 | 23.6788 | 8.3.a | 23.6941 | 0.011081
L23 | 23.6987 | 23.6987 | 8.3.b
L24 | 23.7047 | 23.7047 | 8.3.c
M1 | 23.6165 | 23.6165 | 0.4.a | 23.6158 | 0.00052518
M2 | 23.6153 | 23.6153 | 0.4.b
M3 | 23.6155 | 23.6155 | 0.4.c
M4 | 23.8959 | 23.8959 | 0.5.a | 23.8506 | 0.090757
M5 | 23.7239 | 23.7239 | 0.5.b
M6 | 23.9319 | 23.9319 | 0.5.c
M7 | 24.0706 | 24.0706 | 0.6.a | 24.0334 | 0.037223
M8 | 23.9962 | 23.9962 | 0.6.b
M9 | 23.1418 |  | 0.6.c
M10 | 24.8834 | 24.8834 | 0.7.a | 25.1819 | 0.23841
M11 | 25.1953 | 25.1953 | 0.7.b
M12 | 25.4669 | 25.4669 | 0.7.c
M13 | 23.6213 | 23.6213 | 0.8.a | 23.3767 | 0.17459
M14 | 23.225 | 23.225 | 0.8.b
M15 | 23.284 | 23.284 | 0.8.c
M16 | 23.4245 | 23.4245 | 0.9.a | 23.3506 | 0.062676
M17 | 23.3561 | 23.3561 | 0.9.b
M18 | 23.2713 | 23.2713 | 0.9.c
M19 | 24.1015 | 24.1015 | 2.4.a | 24.1323 | 0.02245
M20 | 24.1542 | 24.1542 | 2.4.b
M21 | 24.1413 | 24.1413 | 2.4.c
M22 | 24.8428 | 24.8428 | 2.5.a | 24.7427 | 0.10026
M23 | 24.6057 | 24.6057 | 2.5.b
M24 | 24.7797 | 24.7797 | 2.5.c
N1 | 24.1422 | 24.1422 | 2.6.a | 24.1791 | 0.1126
N2 | 24.3318 | 24.3318 | 2.6.b
N3 | 24.0635 | 24.0635 | 2.6.c
N4 | 23.1792 | 23.1792 | 2.7.a | 23.0932 | 0.082461
N5 | 23.1183 | 23.1183 | 2.7.b
N6 | 22.982 | 22.982 | 2.7.c
N7 | 36.0582 |  | 2.8.a | #DIV/0! | #DIV/0!
N8 | 37.1036 |  | 2.8.b
N9 | 38.1998 |  | 2.8.c
N10 | 23.8713 | 23.8713 | 2.9.a | 23.9653 | 0.074007
N11 | 23.9724 | 23.9724 | 2.9.b
N12 | 24.0522 | 24.0522 | 2.9.c
N13 | 28.12 | 28.12 | 8.4.a | 28.1383 | 0.11885
N14 | 28.0027 | 28.0027 | 8.4.b
N15 | 28.2921 | 28.2921 | 8.4.c
N16 | 23.5649 | 23.5649 | 8.5.a | 23.565 | 0.000144
N17 | 24.1888 |  | 8.5.b
N18 | 23.5652 | 23.5652 | 8.5.c
N19 | 23.5066 | 23.5066 | 8.6.a | 23.4239 | 0.12131
N20 | 23.2524 | 23.2524 | 8.6.b
N21 | 23.5128 | 23.5128 | 8.6.c
N22 | 23.7848 | 23.7848 | 8.7.a | 23.762 | 0.1383
N23 | 23.9188 | 23.9188 | 8.7.b
N24 | 23.5823 | 23.5823 | 8.7.c
O1 | 23.6062 | 23.6062 | 8.8.a | 23.5515 | 0.081401
O2 | 23.4365 | 23.4365 | 8.8.b
O3 | 23.6119 | 23.6119 | 8.8.c
O4 | 24.1302 | 24.1302 | 8.9.a | 24.017 | 0.15211
O5 | 24.1189 | 24.1189 | 8.9.b
O6 | 23.802 | 23.802 | 8.9.c
O7 | Undetermined | 40.1 |  | 40.1 | 0
O8 | Undetermined | 40.1
O9 | Undetermined | 40.1
O10 | Undetermined | 40.1 |  | 40.1 | 0
O11 | Undetermined | 40.1
O12 | Undetermined | 40.1
O13 | Undetermined | 40.1 |  | 40.1 | 0
O14 | Undetermined | 40.1
O15 | Undetermined | 40.1
O16 | Undetermined | 40.1 |  | 40.1 | 0
O17 | Undetermined | 40.1
O18 | Undetermined | 40.1
O19 | Undetermined | 40.1 |  | 40.1 | 0
O20 | Undetermined | 40.1
O21 | Undetermined | 40.1
O22 | Undetermined | 40.1 |  | 40.1 | 0
O23 | Undetermined | 40.1
O24 | Undetermined | 40.1

## B2M
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
STD 10a | 21.3077 | 0.033947 | 0.1593% | 0.1 | -1
STD 20a | 22.0675 | 0.038253 | 0.1733% | 0.05 | -1.301
STD 40a | 23.2441 | 0.035839 | 0.1542% | 0.025 | -1.6021
STD 80a | 24.3913 | 0.035376 | 0.145% | 0.0125 | -1.9031
STD 160a | 25.4357 | 0.01792 | 0.07045% | 0.00625 | -2.2041
STD 320a | 26.5955 | 0.04283 | 0.161% | 0.003125 | -2.5051
| Slope | -3.5773
| Efficiency | 1.9034
| Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | deltadelta Ct
| Blank 1.a | 39.2614 | 0.092264 | 0.235% | 1.5619e-05
| STD 10a | 21.3077 | 0.033947 | 0.1593% | 1.6308
| STD 20a | 22.0675 | 0.038253 | 0.1733% | 1
| STD 40a | 23.2441 | 0.035839 | 0.1542% | 0.46893
| STD 80a | 24.3913 | 0.035376 | 0.145% | 0.22409
| STD 160a | 25.4357 | 0.01792 | 0.07045% | 0.11441
| STD 320a | 26.5955 | 0.04283 | 0.161% | 0.054231
| 0.1.a | 23.1284 | 0.012545 | 0.05424% | 0.50518 | 0.9579
| 0.2.a | 23.2731 | 0.033882 | 0.1456% | 0.46024 | 0.87267
| 0.3.a | 23.1827 | 0.035447 | 0.1529% | 0.48783 | 0.92499
| 2.1.a | 23.0726 | 0.035961 | 0.1559% | 0.52364 | 0.99289
| 2.2.a | 23.3697 | 0.14317 | 0.6126% | 0.4325 | 0.82008
| 2.3.a | 23.143 | 0.15168 | 0.6554% | 0.50043 | 0.9489
| 8.1.a | 23.3434 | 0.044647 | 0.1913% | 0.43988 | 0.83408
| 8.2.a | 23.4552 | 0.14757 | 0.6292% | 0.40935 | 0.77619
| 8.3.a | 22.984 | 0.0047294 | 0.02058% | 0.55439 | 1.0512
| 0.4.a | 22.7747 | 0.10678 | 0.4688% | 0.63432 | 1.2028
| 0.5.a | 23.2137 | 0.1823 | 0.7853% | 0.47819 | 0.90672
| 0.6.a | 23.323 | 0.037344 | 0.1601% | 0.4457 | 0.84512
| 0.7.a | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 0.8.a | 23.3518 | 0.15927 | 0.6821% | 0.4375 | 0.82956
| 0.9.a | 22.9421 | 0.053925 | 0.235% | 0.56954 | 1.0799
| 2.4.a | 23.4776 | 0.097844 | 0.4168% | 0.40348 | 0.76506
| 2.5.a | 24.2799 | 0.0021629 | 0.008908% | 0.24074 | 0.45647
| 2.6.a | 23.3331 | 0.063519 | 0.2722% | 0.44281 | 0.83963
| 2.7.a | 22.5509 | 0.10938 | 0.485% | 0.73263 | 1.3892
| 2.8.a | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 2.9.a | 22.9986 | 0.31787 | 1.382% | 0.54921 | 1.0414
| 8.4.a | 28.7857 | 0.0070617 | 0.02453% | 0.013244 | 0.025112
| 8.5.a | 22.9785 | 0.01397 | 0.06079% | 0.55633 | 1.0549
| 8.6.a | 22.8736 | 0.064977 | 0.2841% | 0.59522 | 1.1286
| 8.7.a | 23.1257 | 0.17417 | 0.7532% | 0.50605 | 0.95954
| 8.8.a | 23.1144 | 0.13951 | 0.6036% | 0.50974 | 0.96655
| 8.9.a | 23.5877 | 0.14849 | 0.6295% | 0.37589 | 0.71273

## HMBS
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
STD 10a | 28.7177 | 0.047915 | 0.1668% | 0.1 | -1
STD 20a | 29.4638 | 0.076484 | 0.2596% | 0.05 | -1.301
STD 40a | 30.1396 | 0.26055 | 0.8645% | 0.025 | -1.6021
STD 80a | 31.428 | 0.32196 | 1.024% | 0.0125 | -1.9031
STD 160a | 32.7026 | 0.13716 | 0.4194% | 0.00625 | -2.2041
STD 320a | 33.6365 | 0.15634 | 0.4648% | 0.003125 | -2.5051
| Slope | -3.3787
| Efficiency | 1.9768
| Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | deltadelta Ct
| Blank 1.a | 40.1 | 0 | 0% | 0.00071123
| STD 10a | 28.7177 | 0.047915 | 0.1668% | 1.6626
| STD 20a | 29.4638 | 0.076484 | 0.2596% | 1
| STD 40a | 30.1396 | 0.26055 | 0.8645% | 0.63092
| STD 80a | 31.428 | 0.32196 | 1.024% | 0.26221
| STD 160a | 32.7026 | 0.13716 | 0.4194% | 0.11001
| STD 320a | 33.6365 | 0.15634 | 0.4648% | 0.058211
| 0.1.a | 30.3253 | 0.088126 | 0.2906% | 0.55591 | 1.0541
| 0.2.a | 30.4037 | 0.082231 | 0.2705% | 0.52701 | 0.99928
| 0.3.a | 30.249 | 0.017809 | 0.05888% | 0.5856 | 1.1104
| 2.1.a | 30.4585 | 0.10514 | 0.3452% | 0.50768 | 0.96264
| 2.2.a | 30.1589 | 0.21937 | 0.7274% | 0.62268 | 1.1807
| 2.3.a | 29.4415 | 0.12684 | 0.4308% | 1.0153 | 1.9251
| 8.1.a | 30.2268 | 0.13014 | 0.4306% | 0.59453 | 1.1273
| 8.2.a | 30.5762 | 0.068084 | 0.2227% | 0.46855 | 0.88843
| 8.3.a | 29.918 | 0.15249 | 0.5097% | 0.73379 | 1.3914
| 0.4.a | 30.3814 | 0.14716 | 0.4844% | 0.53506 | 1.0146
| 0.5.a | 30.6515 | 0.081458 | 0.2658% | 0.44511 | 0.844
| 0.6.a | 30.4967 | 0.18635 | 0.6111% | 0.49464 | 0.93791
| 0.7.a | 31.7238 | 0.46465 | 1.465% | 0.21434 | 0.40641
| 0.8.a | 29.8111 | 0.071755 | 0.2407% | 0.78925 | 1.4965
| 0.9.a | 30.0478 | 0.092843 | 0.309% | 0.67167 | 1.2736
| 2.4.a | 30.6813 | 0.021755 | 0.07091% | 0.43615 | 0.827
| 2.5.a | 31.3157 | 0.0118 | 0.03768% | 0.28306 | 0.53673
| 2.6.a | 30.7234 | 0.022935 | 0.07465% | 0.42382 | 0.80362
| 2.7.a | 30.3456 | 0.039838 | 0.1313% | 0.54829 | 1.0396
| 2.8.a | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 2.9.a | 30.4715 | 0.17507 | 0.5746% | 0.5032 | 0.95415
| 8.4.a | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 8.5.a | 30.506 | 0.071287 | 0.2337% | 0.4915 | 0.93196
| 8.6.a | 30.2162 | 0.17546 | 0.5807% | 0.59884 | 1.1355
| 8.7.a | 29.9535 | 0.30752 | 1.027% | 0.71622 | 1.3581
| 8.8.a | 29.6877 | 0.61576 | 0 | 0.85847 | 1.6278
| 8.9.a | 30.5196 | 0.085688 | 0 | 0.48697 | 0.92337

## YWHA2
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
STD 10a | 22.0225 | 0.079735 | 0.3621% | 0.1 | -1
STD 20a | 22.6751 | 0.079699 | 0.3515% | 0.05 | -1.301
STD 40a | 23.3699 | 0.18451 | 0.7895% | 0.025 | -1.6021
STD 80a | 25.1439 | 0.12618 | 0.5018% | 0.0125 | -1.9031
STD 160a | 26.1409 | 0.067438 | 0.258% | 0.00625 | -2.2041
STD 320a | 27.1397 | 0.07338 | 0.2704% | 0.003125 | -2.5051
| Slope | -3.5837
| Efficiency | 1.9013
| Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | deltadelta Ct
| Blank 1.a | 39.8405 | 0.36701 | 0.9212% | 1.6222e-05
| STD 10a | 22.0225 | 0.079735 | 0.3621% | 1.5209
| STD 20a | 22.6751 | 0.079699 | 0.3515% | 1
| STD 40a | 23.3699 | 0.18451 | 0.7895% | 0.63991
| STD 80a | 25.1439 | 0.12618 | 0.5018% | 0.20468
| STD 160a | 26.1409 | 0.067438 | 0.258% | 0.10786
| STD 320a | 27.1397 | 0.07338 | 0.2704% | 0.056776
| 0.1.a | 23.6859 | 0.012493 | 0.05274% | 0.52232 | 0.99039
| 0.2.a | 24.0312 | 0.05249 | 0.2184% | 0.41839 | 0.79333
| 0.3.a | 23.7621 | 0.17417 | 0.733% | 0.49736 | 0.94307
| 2.1.a | 23.7613 | 0.14346 | 0.6038% | 0.4976 | 0.94352
| 2.2.a | 24.2708 | 0.31268 | 1.288% | 0.35868 | 0.68012
| 2.3.a | 23.5257 | 0.13665 | 0.5809% | 0.57893 | 1.0977
| 8.1.a | 24.1004 | 0.043321 | 0.1798% | 0.40019 | 0.75881
| 8.2.a | 24.0739 | 0.028806 | 0.1197% | 0.40707 | 0.77186
| 8.3.a | 23.6941 | 0.011081 | 0.04677% | 0.51958 | 0.9852
| 0.4.a | 23.6158 | 0.00052518 | 0.002224% | 0.54639 | 1.036
| 0.5.a | 23.8506 | 0.090757 | 0.3805% | 0.46987 | 0.89095
| 0.6.a | 24.0334 | 0.037223 | 0.1549% | 0.4178 | 0.79221
| 0.7.a | 25.1819 | 0.23841 | 0.9468% | 0.19975 | 0.37875
| 0.8.a | 23.3767 | 0.17459 | 0.7468% | 0.63709 | 1.208
| 0.9.a | 23.3506 | 0.062676 | 0.2684% | 0.64788 | 1.2285
| 2.4.a | 24.1323 | 0.02245 | 0.09303% | 0.39206 | 0.7434
| 2.5.a | 24.7427 | 0.10026 | 0.4052% | 0.26487 | 0.50223
| 2.6.a | 24.1791 | 0.1126 | 0.4657% | 0.38045 | 0.72138
| 2.7.a | 23.0932 | 0.082461 | 0.3571% | 0.76442 | 1.4495
| 2.8.a | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 2.9.a | 23.9653 | 0.074007 | 0.3088% | 0.43649 | 0.82764
| 8.4.a | 28.1383 | 0.11885 | 0.4224% | 0.02989 | 0.056675
| 8.5.a | 23.565 | 0.000144 | 0.0006111% | 0.56449 | 1.0704
| 8.6.a | 23.4239 | 0.12131 | 0.5179% | 0.61806 | 1.1719
| 8.7.a | 23.762 | 0.1383 | 0.582% | 0.4974 | 0.94314
| 8.8.a | 23.5515 | 0.081401 | 0 | 0.56941 | 1.0797
| 8.9.a | 24.017 | 0.15211 | 0 | 0.42222 | 0.80058

## Housekeeper summary
| B2M | HMBS | YWHA2 | geometric mean
0.1.a | 0.50518 | 0.55591 | 0.52232 | 0.52739
0.2.a | 0.46024 | 0.52701 | 0.41839 | 0.46644
0.3.a | 0.48783 | 0.5856 | 0.49736 | 0.52181
2.1.a | 0.52364 | 0.50768 | 0.4976 | 0.50953
2.2.a | 0.4325 | 0.62268 | 0.41219 | 0.4806
2.3.a | 0.50043 | 1.0153 | 0.57893 | 0.66505
8.1.a | 0.43988 | 0.59453 | 0.40019 | 0.47126
8.2.a | 0.40935 | 0.46855 | 0.40707 | 0.4274
8.3.a | 0.55439 | 0.73379 | 0.51958 | 0.59568
0.4.a | 0.63432 | 0.53506 | 0.54639 | 0.57026
0.5.a | 0.47819 | 0.44511 | 0.46987 | 0.46418
0.6.a | 0.4457 | 0.49464 | 0.4178 | 0.45162
0.7.a
0.8.a | 0.4375 | 0.78925 | 0.63709 | 0.60367
0.9.a | 0.56954 | 0.58006 | 0.64788 | 0.59818
2.4.a | 0.40348 | 0.43615 | 0.39206 | 0.41014
2.5.a
2.6.a | 0.44281 | 0.42382 | 0.38045 | 0.41486
2.7.a | 0.73263 | 0.54829 | 0.76442 | 0.67465
2.8.a
2.9.a | 0.54921 | 0.5032 | 0.43649 | 0.4941
8.4.a
8.5.a | 0.55633 | 0.4915 | 0.56449 | 0.53642
8.6.a | 0.59522 | 0.59884 | 0.61806 | 0.60396
8.7.a | 0.50605 | 0.71622 | 0.4974 | 0.56491
8.8.a | 0.50974 | 0.85847 | 0.56941 | 0.62927
8.9.a | 0.37589 | 0.48697 | 0.42222 | 0.42596